**Infusion Pumps Used Outside Patient Rooms – ICU**

**TEST – VACANT ROOM**

1. Establish process for cleaning pump(s) moved from inside to outside a patient’s room.
2. Determine adequate location/number of outlets/plugs in hallway outside patient’s room.
3. Identify best location for pump(s) outside patient’s room.
4. Identify best location for tubing to ensure door will close.
5. Develop best method for securing tubing to avoid trips, falls, accidental removal of IV, etc.
6. Determine best process for bar code scanning (patient armband, medication, pump).
7. Determine process for labeling pump with patient’s name and DOB.
8. Consider criteria for using/not using infusion pumps outside patient room.